General Emergency Evacuation Procedure (GEEP) Belfast Campus Block BC

This Generic Emergency Evacuation Plan (GEEP) aims to give users of the building, particularly those with a disability or who may not be able to evacuate unaided, the information they need to evacuate safely.

The building has 11 levels with a further 2 levels below ground level. There are 8 cores within the building with 120 minute fire resistance which is a relative place of safety in event of fire. Each core has a lobby on each level with a refuge point and stairs which lead to a final ground floor fire exit from the building.

Detailed information on the building including facilities, accessibility and floor maps available at https://www.ulster.ac.uk/yourbelfastcampus/maps-and-facilities

Safely Exiting the building

Everyone should follow the simple steps outlined below to identify primary and secondary escape routes in the event of a fire alarm or other emergency situation.

Always locate your emergency escape route by identifying the nearest available stair core or final exit.  This will be indicated by the green emergency exit signage.

Following the green emergency exit sign will lead to a stair core (which are fire protected areas to allow safe orderly evacuation) or a final exit to outside if on Ground floor/ level 0. Fire action notices are located prominently and include the location of the assembly point from that exit.

The secondary emergency escape route is an alternative should the primary route be inaccessible due to fire.  Identify this route, by considering how to access the core or outside safely if the primary route is blocked. Remember the green emergency exit sign will take you to a relative place of safety (fire protected stair core) or place of safety outside (assembly point).

If able, you should leave the building immediately by the nearest fire exit and report to the assigned assembly point for the building. If you are unable to evacuate the building unaided, please proceed to one of the safe refuges located in each stair

Refuge points are located in every stair core on each floor. Anyone who needs assistance to evacuate safely is advised to go to this point and press the button on the Emergency Voice Communication System to speak with a member of the security team who are trained in use of accessible evacuation lift or chair as appropriate.

Emergency contacts

Assistance can be requested by: -

- using Safezone App

- Phone 028 7012 3456 (24/7)

- If using an internal phone dial ext. 22222

Assembly points

If exiting to Frederick Street, make your way to Frederick St Car Park assembly point.

For all other exits assemble in Writers’ Square or Cathedral Gardens (See map below)

Go immediately to the assembly point and stay there until informed it is safe to return to the building.

Go immediately to the assembly point and stay there until informed it is safe to return to the building.

Assembly points

Indicative primary/secondary escape routes for general use spaces

| Block | Room | Primary | Secondary |
| --- | --- | --- | --- |
| Basement Level - 02 |  |  |  |
| BC | Lecture Theatre 312 | Leave room. Exit left side and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room. Exit right side and across to refuge point F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| Basement Level - 01 |  |  |  |
| BC | Lecture Theatre 211 | Leave room. Exit left side and across to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room. Exit right side and across to refuge point 2025. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Lecture Theatre 302 | Leave room Exit right side and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Exit left side and across to refuge point 2025. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 207 Desks in Foyer | Leave room.Cross to refuge point 2025. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Seminar rooms 208 &209 | Leave room Across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right up to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Seminar rooms 305 | Leave room Left and then left again into refuge point 2025. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| Level 00 |  |  |  |
| BC | Gallery BC-00-102 | Leave room turn right and enter corridor. Turn right to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room head across Mall to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Faculty Display and Exhibit BS-00-108 | Leave room Turn right into mall, turn right and then left to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Proceed to fire exit in far right corner, Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Alumni and University Shop BC-00-109 | Leave room Turn right into mall, turn right and then left Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Proceed to fire exit in far right corner, Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Waiting and Touch Down BC-00-110 | Leave room Turn right into mall, turn right and then left to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Proceed to fire exit in far right corner, Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Café BS-00-111 | Leave room Proceed to fire exit in corner, Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right into mall, turn right and then left to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Deli BC-00-212 | Leave room Proceed straight across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn left onto corridor and proceed to Core F on right. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Central Catering Food Hall BC-00-308 | Leave room Proceed straight across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn left onto corridor and proceed to Core F on right. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Flat Floor Lecture Theatre BC-00-307 | Leave room Proceed straight across to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right and proceed down to Core G on the left. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Learning Studio 3/3A BC-00-306 | Leave room opposite Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Opposite exit door onto Mall and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Student’s Union Bar BC-00-301 | Leave room turning right then right again into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turning left and then left again into Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Central Catering Food Hall BC-00-401 | Leave room via Double Final exit doors onto Frederick Street. Proceed to assembly point. | Leave room via Double Doors onto York Lane, proceed around the building to assembly point. |
| Level 01 |  |  |  |
| BC | Chill out/Social Space – Space for Societies BC-01-101 | Leave room by main entrance proceed ahead and turn right into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room by main entrance proceed ahead and turn right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Semi-Private Meeting / Workspace BC-01-102 | Leave room turn left, left again, then right and then right into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn right, right again, then right following the corridor until turning right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Informal Group Work Zone / Open Study BC-01-202 | Leave room Turn left then right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right then left into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Open Study BC-01-122 | Leave room Go across to Core H (right hand corner). Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Proceed to other corner of the room, through the barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-114 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-115 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (Large) BC-01-115 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-116 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-117 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-118 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-119 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-120 | Leave room Turn left and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-121 | Leave room Turn left and then left into corridor, Core Ho n right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn right, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-107 | Leave room Turn left, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn left and then left, proceed down open study area, and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (MID) BC-01-108 | Leave room Turn left, proceed down open study area, across through barriers and onto Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn left and then left, proceed down open study area, and then left into corridor, Core H on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-111 | Leave room Turn right then right again and left in corridor to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Go across Study Area 209 to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-112 | Leave room Turn right then right again and left in corridor to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Go across Study Area 209 to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Associated Informal Meeting Area BC-01-209B | Leave room Through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across room to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Touchdown Zone BC-01-209 | Leave room Through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across room to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Open Study BC-01-209C | Leave room Through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across room to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Tutorial Room BC-01-215 | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (Mid) BC-01-216 | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (Large) BC-01-213 | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-210 | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Small Project Tutorial Room BC-01-211 | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (Mid) BC-01-212 | Leave room into 209 Study Area then across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room into 209 Study Area then left down corridor and right into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Project Room (Large) BC-01-220a | Leave room Into Study Area 308, turn right and right again into corridor and left into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Into Study Area 308, across to corridor and turn right into Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Study Area BC-01-308 | Leave room into Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Open Study Area BC-01-307A | Leave room through barriers to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room go through Study area 308 and then left into corridor and right into Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Study Area BC-01-310 | Leave room out exit to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room out other exit to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Large Project Room BC-01-308B | Leave room straight into Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn right through Study Area 310 to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Large Project Room BC-01-308C | Leave room straight into Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn right through Study Area 310 to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| Level 02 |  |  |  |
| BC | Exhibition & Student Info BC-02-102 | Leave room straight across into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left up the corridor to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Informal Group Work / Open Study & Breakout BC-02-105 | Leave room straight across into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left up the corridor to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Informal Group Work / Open Study & Breakout BC-02-203 | Leave room turn left into Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Low Level Book Stacks [BC-02-204] | Leave room across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room through book stacks and either left to Core G or right to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Study Area 1 [BC-02-204E] | Leave room straight into Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Study Area 2 [BC-02-204G] | Leave room across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room across the Shelving into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Quiet Study BC-02-204B | Leave room turn left to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Quiet Study BC-02-204C | Leave room turn left to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Quiet Study BC-02-204D | Leave room turn left to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room across through barriers to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | Learning Studio 1/2/2A BC-02-308 | Leave room outdoor to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room outdoor to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| Level 03 |  |  |  |
| BC | 03-202 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-112 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-111 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-109 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-104A | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-107 Study Booth | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-105 | Leave room turn left to Core A on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-103 | Leave room turn left to Core A on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room turn left then right to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-002 Combined room | Leave room turn right into corridor for BD, exit via lifts if functioning or enter staircase enclosure and call campus security on refuge emergency call point for assistance. | Leave room Turn left to Core A on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance. |
| BC | 03-102 | Leave room turn left into corridor for BD, exit via lifts if functioning or call campus security on refuge emergency call point for assistance. | Leave room turn right to Core A on right hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-125 Combined room | Leave room turn left into corridor for BD, exit via lifts if functioning or call campus security on refuge emergency call point for assistance. | Leave room turn right up to Core H on left hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-123A | Leave room turn right up to Core H on left hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn left into corridor for BD, exit via lifts if functioning or Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-03-114 Cafe | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn left up to Core H on left hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-123 | Leave room Across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room Turn right up to Core H on left hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-122 | Leave room Turn right up to Core H on left hand side. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room Past Café and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-121 | Leave room Across to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room Past Café and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-120 | Leave room across to Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room past Café and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-115a Learning Studio | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-215 | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-213A | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-207 Open atrium space | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-115 Learning studio | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-212 | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-211 | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-210 | Leave room across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-209 | Leave room across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-213 | Leave room across to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room out and into Core H. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-206 | Leave room turn left to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-206a | Leave room turn left to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 03-310 Social Learning Hub | Leave room out and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room out of room and turn right down to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 04 |  |  |  |
| BC | 04-201/202 Social Learning Hub | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right to Core B on left. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-100 Student Hub Workspace | Leave room left up to Core C on right. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and follow exit signage to BD exit via lifts if functioning or enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-302 Social Learning Hub | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-305 Research Space | Leave room out and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-306 Student Hub teaching cafe | Leave room out and across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn left down corridor and down to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-311 Research Impact Space | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and right again to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-310 Techno Cafe | Leave room Across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room Turn right and right again to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 04-403 Research Impact Space | Leave room turn right down to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn left to Core D. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 05 |  |  |  |
| BC | 05-401 Student Learning Social Hub | Leave room across to Core D. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Learning spaces beside Atrium void 4 | Leave room across to Core D. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 05-301 Student Learning Social Hub | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 05-304 Learning spaces beside Atrium void 3 | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 05-202 SSC Admin open area | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 05-106/106a Student Hub | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn right and right again to BD exit via lifts if functioning or Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 06 |  |  |  |
| BC | Social Learning Hub 06-201 | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 06-301 Student Hub | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Roof Garden Café (Deli 06- 101) | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room outdoors and across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Personal meeting rooms/booths in 06-201 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A8. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 07 |  |  |  |
| BC | Student Hub 07-202a | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Student Hub 07-101 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room go up corridor and turn right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Meeting rooms 07-204a - 207 | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room go up corridor and turn right into Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 07-313 Moot Court | Leave room turn right to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room turn left to Core F. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 08 |  |  |  |
| BC | Social Learning Hub 08-304 | Leave room across to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Follow corridor down to Core B on left. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Study Booth Areas 08-301 &vending | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Up corridor to Core C. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | Social Learning Hub 08-201 | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 08-101 Financial Innovation Lab) | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room up corridor to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| BC | 08-103 Open plan study area | Leave room across to Core A or H (Long area, so dependent on where sitting). Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room across to Core H or A (Long area, so dependent on where sitting). Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 09 |  |  |  |
| BC | Student Hub Workspaces 09-101, 201 & 201a | Leave room across to Core A. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room up Corridor to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| Level 11 |  |  |  |
| BC | Research impact space 09-201 | Leave room across to Core B. Enter staircase enclosure and call campus security on refuge emergency call point for assistance | Leave room through Plant to Core G. Enter staircase enclosure and call campus security on refuge emergency call point for assistance |
| For queries relating to the content of this document contact healthandsafety@ulster.ac.uk |  |  |  |